HOW TO SPECIFY

Models 51CC, 51CCD

CURVED BLADE CEILING DIFFUSERS – ALUMINUM

SUGGESTED SPECIFICATION: Furnish and install Nailor Model (select one) 51CC or 51CCD (with deflector vanes) Aluminum Curved Blade Supply Diffusers of the sizes and capacities as shown on the plans and air distribution schedules. The diffuser shall have a steel panel type frame that has a square neck and contains an extruded aluminum curved blade pack with individually adjustable blades. The blade pack shall be configured in a 4, 3, 2 or 1-way pattern as specified. The finish shall be AW Appliance White (optional finishes are available). (Optional) An opposed blade damper, constructed of heavy gauge corrosion-resistant steel (aluminum is optional), operable from the face of the diffuser, shall be provided with all units. The manufacturer shall provide published performance data for the diffuser, which shall be tested in accordance with ANSI/ASHRAE Standard 70 – 2023.

Models 61CC, 61CCD

CURVED BLADE CEILING DIFFUSERS – STEEL

SUGGESTED SPECIFICATION: Furnish and install Nailor Model (select one) 61CC or 61CCD (with deflector vanes) Steel Curved Blade Supply Diffusers of the sizes and capacities as shown on the plans and air distribution schedules. The diffuser shall have a corrosion-resistant steel, panel type frame that has a square neck and contains an extruded aluminum curved blade pack with individually adjustable blades. The blade pack shall be configured in a 4, 3, 2 or 1-way pattern as specified. The finish shall be AW Appliance White (optional finishes are available). (Optional) An opposed blade damper, constructed of heavy gauge corrosion-resistant steel, operable from the face of the diffuser, shall be provided with all units. The manufacturer shall provide published performance data for the diffuser, which shall be tested in accordance with ANSI/ASHRAE Standard 70 – 2023.