HOW TO SPECIFY

Model 5410

LIGHT TROFFER DIFFUSER, SINGLE SIDE

SUGGESTED SPECIFICATION: Furnish and install Nailor Model 5410 Light Troffer Supply Diffusers of the sizes and capacities as shown on the plans and air distribution schedules. The diffuser shall be manufactured from corrosion-resistant steel and include a side inlet. The slot opening shall incorporate a piano-type hinge pattern controller. The diffuser shall fit a flush slot type light troffer (RS regressed slot is optional). The pattern controller and all exposed surfaces shall have a BK Black finish. The manufacturer shall provide published performance data for the light troffer supply diffuser, which shall be tested in accordance with ANSI/ASHRAE Standard 70 – 2023.

Model 5420

LIGHT TROFFER DIFFUSER, DOUBLE SIDE

SUGGESTED SPECIFICATION: Furnish and install Nailor Model 5420 Double Side Light Troffer Supply Diffusers of the sizes and capacities as shown on the plans and air distribution schedules. The diffuser shall be manufactured from corrosion-resistant steel and include a top or side inlet as specified. The slot openings shall incorporate piano-type hinge pattern controllers. The diffuser shall fit a flush slot type light troffer (RS regressed slot is optional). The pattern controller and all exposed surfaces shall have a BK Black finish. The manufacturer shall provide published performance data for the light troffer supply diffuser, which shall be tested in accordance with ANSI/ASHRAE Standard 70 – 2023.

Model 5410R

LIGHT TROFFER DIFFUSER, SINGLE SIDE RETURN

SUGGESTED SPECIFICATION: Furnish and install Nailor Model 5410R Single Side Light Troffer Return Diffusers of the sizes and capacities as shown on the plans and air distribution schedules. The diffuser shall be manufactured from corrosion-resistant steel and have a rectangular return opening. The diffuser shall fit a flush slot type light troffer (RS regressed slot is optional). All exposed surfaces shall have a BK Black finish. The manufacturer shall provide published performance data for the light troffer return diffuser, which shall be tested in accordance with ANSI/ASHRAE Standard 70 – 2023.